## Daten
Reference |  | Calculated Parameters |  | Legend
M Moisture in % | 20 | m1 | 0.05 | M | reference moisture % of the material
D in kg/dm3 | 1.2 | m0 | -5 | Tp | measured Tp with the material above the probe
Tp in Picoseconds | 500 | tp0 | 99.9996 | D | determined bulk density of the material in kg/dm3
|  |  |  | tp0 | calculated tp value dependent on material density at 0% moisture
Formulas:
𝑡𝑝0=33,333∗𝐷+60
𝑚1=𝑟/(𝑇𝑝−𝑡𝑝0)
𝑚0=𝑀−(𝑚1∗𝑇𝑝)

## Tabelle2
m0 | -5
m1 | 0.05
tp | moisture
60 | -2
61 | -1.95
62 | -1.9
63 | -1.85
64 | -1.8
65 | -1.75
66 | -1.7
67 | -1.65
68 | -1.6
69 | -1.55
70 | -1.5
71 | -1.45
72 | -1.4
73 | -1.35
74 | -1.3
75 | -1.25
76 | -1.2
77 | -1.15
78 | -1.1
79 | -1.05
80 | -0.99998
81 | -0.94998
82 | -0.89998
83 | -0.84998
84 | -0.79998
85 | -0.74998
86 | -0.69998
87 | -0.64998
88 | -0.59998
89 | -0.54998
90 | -0.49998
91 | -0.44998
92 | -0.39998
93 | -0.34998
94 | -0.29998
95 | -0.24998
96 | -0.19998
97 | -0.14998
98 | -0.09998
99 | -0.04998
100 | 2e-05
101 | 0.05002
102 | 0.10002
103 | 0.15002
104 | 0.20002
105 | 0.25002
106 | 0.30002
107 | 0.35002
108 | 0.40002
109 | 0.45002
110 | 0.50002
111 | 0.55002
112 | 0.60002
113 | 0.65002
114 | 0.70002
115 | 0.75002
116 | 0.80002
117 | 0.85002
118 | 0.90002
119 | 0.95002
120 | 1
121 | 1.05
122 | 1.1
123 | 1.15
124 | 1.2
125 | 1.25
126 | 1.3
127 | 1.35
128 | 1.4
129 | 1.45
130 | 1.5
131 | 1.55
132 | 1.6
133 | 1.65
134 | 1.7
135 | 1.75
136 | 1.8
137 | 1.85
138 | 1.9
139 | 1.95
140 | 2
141 | 2.05
142 | 2.1
143 | 2.15
144 | 2.2
145 | 2.25
146 | 2.3
147 | 2.35
148 | 2.4
149 | 2.45
150 | 2.5
151 | 2.55
152 | 2.6
153 | 2.65
154 | 2.7
155 | 2.75
156 | 2.8
157 | 2.85
158 | 2.9
159 | 2.95
160 | 3
161 | 3.05
162 | 3.1
163 | 3.15
164 | 3.2
165 | 3.25
166 | 3.3
167 | 3.35
168 | 3.4
169 | 3.45
170 | 3.5
171 | 3.55
172 | 3.6
173 | 3.65
174 | 3.7
175 | 3.75
176 | 3.8
177 | 3.85
178 | 3.9
179 | 3.95
180 | 4
181 | 4.05
182 | 4.1
183 | 4.15
184 | 4.2
185 | 4.25
186 | 4.3
187 | 4.35
188 | 4.4
189 | 4.45
190 | 4.5
191 | 4.55
192 | 4.6
193 | 4.65
194 | 4.7
195 | 4.75
196 | 4.8
197 | 4.85
198 | 4.9
199 | 4.95
200 | 5
201 | 5.05
202 | 5.1
203 | 5.15
204 | 5.2
205 | 5.25
206 | 5.3
207 | 5.35
208 | 5.4
209 | 5.45
210 | 5.5
211 | 5.55
212 | 5.6
213 | 5.65
214 | 5.7
215 | 5.75
216 | 5.8
217 | 5.85
218 | 5.9
219 | 5.95
220 | 6
221 | 6.05
222 | 6.1
223 | 6.15
224 | 6.2
225 | 6.25
226 | 6.3
227 | 6.35
228 | 6.4
229 | 6.45
230 | 6.5
231 | 6.55
232 | 6.6
233 | 6.65
234 | 6.7
235 | 6.75
236 | 6.8
237 | 6.85
238 | 6.9
239 | 6.95
240 | 7
241 | 7.05
242 | 7.1
243 | 7.15
244 | 7.2
245 | 7.25
246 | 7.3
247 | 7.35
248 | 7.4
249 | 7.45
250 | 7.5
251 | 7.55
252 | 7.6
253 | 7.65
254 | 7.7
255 | 7.75
256 | 7.8
257 | 7.85
258 | 7.9
259 | 7.95
260 | 8
261 | 8.05
262 | 8.1
263 | 8.15
264 | 8.2
265 | 8.25
266 | 8.3
267 | 8.35
268 | 8.4
269 | 8.45
270 | 8.5
271 | 8.55
272 | 8.6
273 | 8.65
274 | 8.7
275 | 8.75
276 | 8.8
277 | 8.85
278 | 8.9
279 | 8.95
280 | 9
281 | 9.05
282 | 9.1
283 | 9.15
284 | 9.2
285 | 9.25
286 | 9.3
287 | 9.35
288 | 9.4
289 | 9.45
290 | 9.5
291 | 9.55
292 | 9.6
293 | 9.65
294 | 9.7
295 | 9.75
296 | 9.8
297 | 9.85
298 | 9.9
299 | 9.95
300 | 10
301 | 10.05
302 | 10.1
303 | 10.15
304 | 10.2
305 | 10.25
306 | 10.3
307 | 10.35
308 | 10.4
309 | 10.45
310 | 10.5
311 | 10.55
312 | 10.6
313 | 10.65
314 | 10.7
315 | 10.75
316 | 10.8
317 | 10.85
318 | 10.9
319 | 10.95
320 | 11
321 | 11.05
322 | 11.1
323 | 11.15
324 | 11.2
325 | 11.25
326 | 11.3
327 | 11.35
328 | 11.4
329 | 11.45
330 | 11.5
331 | 11.55
332 | 11.6
333 | 11.65
334 | 11.7
335 | 11.75
336 | 11.8
337 | 11.85
338 | 11.9
339 | 11.95
340 | 12
341 | 12.05
342 | 12.1
343 | 12.15
344 | 12.2
345 | 12.25
346 | 12.3
347 | 12.35
348 | 12.4
349 | 12.45
350 | 12.5
351 | 12.55
352 | 12.6
353 | 12.65
354 | 12.7
355 | 12.75
356 | 12.8
357 | 12.85
358 | 12.9
359 | 12.95
360 | 13
361 | 13.05
362 | 13.1
363 | 13.15
364 | 13.2
365 | 13.25
366 | 13.3
367 | 13.35
368 | 13.4
369 | 13.45
370 | 13.5
371 | 13.55
372 | 13.6
373 | 13.65
374 | 13.7
375 | 13.75
376 | 13.8
377 | 13.85
378 | 13.9
379 | 13.95
380 | 14
381 | 14.05
382 | 14.1
383 | 14.15
384 | 14.2
385 | 14.25
386 | 14.3
387 | 14.35
388 | 14.4
389 | 14.45
390 | 14.5
391 | 14.55
392 | 14.6
393 | 14.65
394 | 14.7
395 | 14.75
396 | 14.8
397 | 14.85
398 | 14.9
399 | 14.95
400 | 15
401 | 15.05
402 | 15.1
403 | 15.15
404 | 15.2
405 | 15.25
406 | 15.3
407 | 15.35
408 | 15.4
409 | 15.45
410 | 15.5
411 | 15.55
412 | 15.6
413 | 15.65
414 | 15.7
415 | 15.75
416 | 15.8
417 | 15.85
418 | 15.9
419 | 15.95
420 | 16
421 | 16.05
422 | 16.1
423 | 16.15
424 | 16.2
425 | 16.25
426 | 16.3
427 | 16.35
428 | 16.4
429 | 16.45
430 | 16.5
431 | 16.55
432 | 16.6
433 | 16.65
434 | 16.7
435 | 16.75
436 | 16.8
437 | 16.85
438 | 16.9
439 | 16.95
440 | 17
441 | 17.05
442 | 17.1
443 | 17.15
444 | 17.2
445 | 17.25
446 | 17.3
447 | 17.35
448 | 17.4
449 | 17.45
450 | 17.5
451 | 17.55
452 | 17.6
453 | 17.65
454 | 17.7
455 | 17.75
456 | 17.8
457 | 17.85
458 | 17.9
459 | 17.95
460 | 18
461 | 18.05
462 | 18.1
463 | 18.15
464 | 18.2
465 | 18.25
466 | 18.3
467 | 18.35
468 | 18.4
469 | 18.45
470 | 18.5
471 | 18.55
472 | 18.6
473 | 18.65
474 | 18.7
475 | 18.75
476 | 18.8
477 | 18.85
478 | 18.9
479 | 18.95
480 | 19
481 | 19.05
482 | 19.1
483 | 19.15
484 | 19.2
485 | 19.25
486 | 19.3
487 | 19.35
488 | 19.4
489 | 19.45
490 | 19.5
491 | 19.55
492 | 19.6
493 | 19.65
494 | 19.7
495 | 19.75
496 | 19.8
497 | 19.85
498 | 19.9
499 | 19.95
500 | 20
501 | 20.05
502 | 20.1
503 | 20.15
504 | 20.2
505 | 20.25
506 | 20.3
507 | 20.35
508 | 20.4
509 | 20.45
510 | 20.5
511 | 20.55
512 | 20.6
513 | 20.65
514 | 20.7
515 | 20.75
516 | 20.8
517 | 20.85
518 | 20.9
519 | 20.95
520 | 21
521 | 21.05
522 | 21.1
523 | 21.15
524 | 21.2
525 | 21.25
526 | 21.3
527 | 21.35
528 | 21.4
529 | 21.45
530 | 21.5
531 | 21.55
532 | 21.6
533 | 21.65
534 | 21.7
535 | 21.75
536 | 21.8
537 | 21.85
538 | 21.9
539 | 21.95
540 | 22
541 | 22.05
542 | 22.1
543 | 22.15
544 | 22.2
545 | 22.25
546 | 22.3
547 | 22.35
548 | 22.4
549 | 22.45
550 | 22.5
551 | 22.55
552 | 22.6
553 | 22.65
554 | 22.7
555 | 22.75
556 | 22.8
557 | 22.85
558 | 22.9
559 | 22.95
560 | 23
561 | 23.05
562 | 23.1
563 | 23.15
564 | 23.2
565 | 23.25
566 | 23.3
567 | 23.35
568 | 23.4
569 | 23.45
570 | 23.5
571 | 23.55
572 | 23.6
573 | 23.65
574 | 23.7
575 | 23.75
576 | 23.8
577 | 23.85
578 | 23.9
579 | 23.95
580 | 24
581 | 24.05
582 | 24.1
583 | 24.15
584 | 24.2
585 | 24.25
586 | 24.3
587 | 24.35
588 | 24.4
589 | 24.45
590 | 24.5
591 | 24.55
592 | 24.6
593 | 24.65
594 | 24.7
595 | 24.75
596 | 24.8
597 | 24.85
598 | 24.9
599 | 24.95
600 | 25
601 | 25.05
602 | 25.1
603 | 25.15
604 | 25.2
605 | 25.25
606 | 25.3
607 | 25.35
608 | 25.4
609 | 25.45
610 | 25.5
611 | 25.55
612 | 25.6
613 | 25.65
614 | 25.7
615 | 25.75
616 | 25.8
617 | 25.85
618 | 25.9
619 | 25.95
620 | 26
621 | 26.05
622 | 26.1
623 | 26.15
624 | 26.2
625 | 26.25
626 | 26.3
627 | 26.35
628 | 26.4
629 | 26.45
630 | 26.5
631 | 26.55
632 | 26.6
633 | 26.65
634 | 26.7
635 | 26.75
636 | 26.8
637 | 26.85
638 | 26.9
639 | 26.95
640 | 27
641 | 27.05
642 | 27.1
643 | 27.15
644 | 27.2
645 | 27.25
646 | 27.3
647 | 27.35
648 | 27.4
649 | 27.45
650 | 27.5
651 | 27.55
652 | 27.6
653 | 27.65
654 | 27.7
655 | 27.75
656 | 27.8
657 | 27.85
658 | 27.9
659 | 27.95
660 | 28
661 | 28.05
662 | 28.1
663 | 28.15
664 | 28.2
665 | 28.25
666 | 28.3
667 | 28.35
668 | 28.4
669 | 28.45
670 | 28.5
671 | 28.55
672 | 28.6
673 | 28.65
674 | 28.7
675 | 28.75
676 | 28.8
677 | 28.85
678 | 28.9
679 | 28.95
680 | 29
681 | 29.05
682 | 29.1
683 | 29.15
684 | 29.2
685 | 29.25
686 | 29.3
687 | 29.35
688 | 29.4
689 | 29.45
690 | 29.5
691 | 29.55
692 | 29.6
693 | 29.65
694 | 29.7
695 | 29.75
696 | 29.8
697 | 29.85
698 | 29.9
699 | 29.95
700 | 30
701 | 30.05
702 | 30.1
703 | 30.15
704 | 30.2
705 | 30.25
706 | 30.3
707 | 30.35
708 | 30.4
709 | 30.45
710 | 30.5
711 | 30.55
712 | 30.6
713 | 30.65
714 | 30.7
715 | 30.75
716 | 30.8
717 | 30.85
718 | 30.9
719 | 30.95
720 | 31
721 | 31.05
722 | 31.1
723 | 31.15
724 | 31.2
725 | 31.25
726 | 31.3
727 | 31.35
728 | 31.4
729 | 31.45
730 | 31.5
731 | 31.55
732 | 31.6
733 | 31.65
734 | 31.7
735 | 31.75
736 | 31.8
737 | 31.85
738 | 31.9
739 | 31.95
740 | 32
741 | 32.05
742 | 32.1
743 | 32.15
744 | 32.2
745 | 32.25
746 | 32.3
747 | 32.35
748 | 32.4
749 | 32.45
750 | 32.5
751 | 32.55
752 | 32.6
753 | 32.65
754 | 32.7
755 | 32.75
756 | 32.8
757 | 32.85
758 | 32.9
759 | 32.95
760 | 33
761 | 33.05
762 | 33.1
763 | 33.15
764 | 33.2
765 | 33.25
766 | 33.3
767 | 33.35
768 | 33.4
769 | 33.45
770 | 33.5
771 | 33.55
772 | 33.6
773 | 33.65
774 | 33.7
775 | 33.75
776 | 33.8
777 | 33.85
778 | 33.9
779 | 33.95
780 | 34
781 | 34.05
782 | 34.1
783 | 34.15
784 | 34.2
785 | 34.25
786 | 34.3
787 | 34.35
788 | 34.4
789 | 34.45
790 | 34.5
791 | 34.55
792 | 34.6
793 | 34.65
794 | 34.7
795 | 34.75
796 | 34.8
797 | 34.85
798 | 34.9
799 | 34.95
800 | 35
801 | 35.05
802 | 35.1
803 | 35.15
804 | 35.2
805 | 35.25
806 | 35.3
807 | 35.35
808 | 35.4
809 | 35.45
810 | 35.5
811 | 35.55
812 | 35.6
813 | 35.65
814 | 35.7
815 | 35.75
816 | 35.8
817 | 35.85
818 | 35.9
819 | 35.95
820 | 36
821 | 36.05
822 | 36.1
823 | 36.15
824 | 36.2
825 | 36.25
826 | 36.3
827 | 36.35
828 | 36.4
829 | 36.45
830 | 36.5
831 | 36.55
832 | 36.6
833 | 36.65
834 | 36.7
835 | 36.75
836 | 36.8
837 | 36.85
838 | 36.9
839 | 36.95
840 | 37
841 | 37.05
842 | 37.1
843 | 37.15
844 | 37.2
845 | 37.25
846 | 37.3
847 | 37.35
848 | 37.4
849 | 37.45
850 | 37.5
851 | 37.55
852 | 37.6
853 | 37.65
854 | 37.7
855 | 37.75
856 | 37.8
857 | 37.85
858 | 37.9
859 | 37.95
860 | 38
861 | 38.05
862 | 38.1
863 | 38.15
864 | 38.2
865 | 38.25
866 | 38.3
867 | 38.35
868 | 38.4
869 | 38.45
870 | 38.5
871 | 38.55
872 | 38.6
873 | 38.65
874 | 38.7
875 | 38.75
876 | 38.8
877 | 38.85
878 | 38.9
879 | 38.95
880 | 39
881 | 39.05
882 | 39.1
883 | 39.15
884 | 39.2
885 | 39.25
886 | 39.3
887 | 39.35
888 | 39.4
889 | 39.45
890 | 39.5
891 | 39.55
892 | 39.6
893 | 39.65
894 | 39.7
895 | 39.75
896 | 39.8
897 | 39.85
898 | 39.9
899 | 39.95
900 | 40
901 | 40.05
902 | 40.1
903 | 40.15
904 | 40.2
905 | 40.25
906 | 40.3
907 | 40.35
908 | 40.4
909 | 40.45
910 | 40.5
911 | 40.55
912 | 40.6
913 | 40.65
914 | 40.7
915 | 40.75
916 | 40.8
917 | 40.85
918 | 40.9
919 | 40.95
920 | 41
921 | 41.05
922 | 41.1
923 | 41.15
924 | 41.2
925 | 41.25
926 | 41.3
927 | 41.35
928 | 41.4
929 | 41.45
930 | 41.5
931 | 41.55
932 | 41.6
933 | 41.65
934 | 41.7
935 | 41.75
936 | 41.8
937 | 41.85
938 | 41.9
939 | 41.95
940 | 42
941 | 42.05
942 | 42.1
943 | 42.15
944 | 42.2
945 | 42.25
946 | 42.3
947 | 42.35
948 | 42.4
949 | 42.45
950 | 42.5
951 | 42.55
952 | 42.6
953 | 42.65
954 | 42.7
955 | 42.75
956 | 42.8
957 | 42.85
958 | 42.9
959 | 42.95
960 | 43
961 | 43.05
962 | 43.1
963 | 43.15
964 | 43.2
965 | 43.25
966 | 43.3
967 | 43.35
968 | 43.4
969 | 43.45
970 | 43.5
971 | 43.55
972 | 43.6
973 | 43.65
974 | 43.7
975 | 43.75
976 | 43.8
977 | 43.85
978 | 43.9
979 | 43.95
980 | 44
981 | 44.05
982 | 44.1
983 | 44.15
984 | 44.2
985 | 44.25
986 | 44.3
987 | 44.35
988 | 44.4
989 | 44.45
990 | 44.5
991 | 44.55
992 | 44.6
993 | 44.65
994 | 44.7
995 | 44.75
996 | 44.8
997 | 44.85
998 | 44.9
999 | 44.95
1000 | 45

## Kompatibilitätsbericht
Kompatibilitätsbericht für SONO_Linear_Calculation.xls
Ausführen auf 19.01.2016 16:22
Die folgenden Features in dieser Arbeitsmappe werden von früheren Excel-Versionen nicht unterstützt. Diese Features gehen beim Öffnen dieser Arbeitsmappe in einer früheren Excel-Version oder beim Speichern in einem früheren Dateiformat möglicherweise verloren oder werden beschädigt.
Geringer Genauigkeitsverlust | Anzahl | Version
Einige Zellen oder Formatvorlagen in dieser Arbeitsmappe enthalten eine Formatierung, die vom ausgewählten Dateiformat nicht unterstützt wird. Diese Formate werden in das ähnlichste verfügbare Format konvertiert. | 1 | Excel 97-2003